## 4 DOOR
BILL NO. 2 4 DOOR EXTERNAL TOILET AND URINAL AT EXERCUTIVE RESIDENCE
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
4-DOOR MODERN CLOSE COUPLE TOILET AND URINAL
ELEMENT No.1
SUBSTRUCTURE (All Provisional)
Excavation and Earthworks
A | Clear site of debries ,shrubs, small trees undergrowths and the like, grub up roots and cart away arising's from site | 25 | SM |  | 0
B | Excavate oversite;average 200mm deep to remove vegetable soil,load wheel and deposit where directed and later speread and level on site where directed | 25 | SM |  | 0
C | Excavate trench for foundation strip footing not exceeding 1.50 metres deep starting from stripped level | 27 | CM |  | 0
D | Mass excavation to reduced levels not exceeding 1.50m deep | 2 | CM |  | 0
J | Extra over for rock excavation | 3 | CM |  | 0
K | Return, fill in and rum selected excavated material | 9 | CM |  | 0
L | Remove and cart away from site surplus excavated material as directed | 25 | CM |  | 0
Filling
M | Hardcore filling in making up levels exceeding 300mm below, depositing an compacting in layers of 150mm maximum thickness | 5 | CM |  | 0
N | 50mm thick stone dust or murram blinding to surfaces over hardcore | 16 | SM |  | 0
P | Keeping all excavations free from water including spring or running water |  | Item
Q | Uphold the sides of all excavations |  | Item
R | Antitermite treatment TERMIDOR' or other equal and approved insecticides with a ten-years guarantee to surfaces of fill and tops of foundattions. | 22 | SM |  | 0
| Total Carried to Collection | 1/1/1
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
Substructure contd'
Insitu concrete 1:3:6 ( class 15/20mm) mix : in
A | 50mm thick foundations and bases | 14 | SM |  | 0
Insitu concrete class 20/20 , vibrated and reinforced as described in;-
B | Foundations in trenches irrespective of thickness | 4 | CM |  | 0
C | 150mm thick bed & ramps | 22 | SM |  | 0
REINFORCEMENT
Deformed high yield steel ribbed bars reinforcement to Kenya Standard for cutting, bending, hoisting and fixing including all necessary tying wires, distance blocks, spacers, templates and stools
D | 10mm bars | 85 | KG |  | 0
E | 8mm bars | 55 | KG |  | 0
Mesh fabric reinforcement to BS 4483 ref BRC A142 weighing 2.22 kilograms per square metre: to
F | Floor slab including all necessary laps and supports | 22 | SM |  | 0
Marine Ply Formwork: to
G | To sides vertical or battering of strip foundation | 10 | SM |  | 0
H | Edges of ground floor slab, 75 to 150mm wide | 19 | LM |  | 0
J | Soffits of suspended slab | 4 | SM |  | 0
K | Extra over ditto for boxing hole size 200 x 200mm in floor slab | 4 | NO |  | 0
Approved Local Natural stone (cut to size) walling in cement sand (1:3) mortar:-
L | 200mm thick foundation walling including 20 x 3 mm thick mild steel hoop iron in every alternative course. | 35 | SM |  | 0
Damp proofing
M | Polythene, 1000 gauge, 200mm laps (no allowance made to laps) horizontal, 1 no layer laid on murram building | 20 | SM |  | 0
Plinths
N | 12mm thick 2 no coatwork cement sand (1:3) render, wood floated to concrete or blockwork base to walls, external | 6 | SM |  | 0
P | Prepare and apply three coats of black bituminous pint to Rendered plinths, externally | 6 | SM |  | 0
| Total Carried to Collection |  |  |  | 0
COLLECTION
From page 1/1/1
| From above |  |  |  | 0
| TOTAL CARRIED TO SUMMARY | 1/1/2 |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT No. 2
CONCRETE SUPERSTRUCTURE
Insitu concrete class 20/20 , vibrated and reinforced as described in;-
A | Ring Beam | 1 | CM |  | 0
REINFORCEMENT
Deformed high yield steel ribbed bars reinforcement to Kenya Standard for cutting, bending, hoisting and fixing including all necessary tying wires, distance blocks, spacers, templates and stools
B | 10mm diameter | 68 | KG |  | 0
C | Ditto but 8mm ditto | 56 | KG |  | 0
Marine Ply Formwork: to
D | To sides and soffits of beams | 17 | SM |  | 0
| TOTAL CARRIED TO SUMMARY | 1/2/1 |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT No.3
WALLING
Approved local machine dressed "Maai Mahiu" natural stone walling bedded and jointed in cement sand (1:3) mortar with 20mm wide hoop irons in every alternate course
A | 150mm thick | 90 | SM |  | 0
B | Ditto gable ended facade | 8 | SM |  | 0
C | Extra eaves filling in 150mm thick walling a.b.d | 7 | LM |  | 0
D | Raking cutting to 150mm thick wall | 7 | LM |  | 0
Hessian based 3 ply bituminous felt horizontal damp proof course to B.S 743, Type "A" weighing not less than 3.8kq per mm2 bedded and levelled in cement and sand (1:3) mortar as described (measured net allow for laps )
E | 150 mm Wide | 33 | LM |  | 0
VENT PIPE
F | 150mm diameter P.V.C pipe fixed to walling with holder bats at 1 meters centres | 11 | LM |  | 0
| TOTAL CARRIED TO SUMMARY | 1/3/1 |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT No.4
ROOFING AND RAINWATER DISPOSAL
Roof covering
"Gauge 28 gauge prepainted IT5 galvanized iron sheets nailled on pulins (M/S) ; with one corrugation edge lap and 150mm end lap)
A | Roof covering n.e 37 degrees from the horizontal including all necessary fixtures | 38 | SM |  | 0
B | Ditto;250 mm wide Ridge cap | 12 | LM |  | 0
Grade II pressure impregnated sawn cypress in;
Framed timberwork
The following truss of assorted heights and spans including scarfed or dovetailed jointing, hoisted and fixed various hights above ground floor slab
C | 100 x 50 mm main rafter | 30 | LM |  | 0
D | 100 x 50 mm Wall plate | 25 | LM |  | 0
E | 100 X 50 mm Ridge board | 12 | LM |  | 0
F | 100 x 50mm sawn cypress tie beam | 22 | LM |  | 0
G | 100 x 50mm king posts | 7 | LM |  | 0
H | 75 x 50mm sawn cypress struts | 25 | LM |  | 0
J | 75 x 50mm sawn cypress purlins | 56 | LM |  | 0
In grade II wrot cypress
K | 225 x 25 mm Fascia board | 23 | LM |  | 0
L | 225mm x 25mm Barge board | 14 | LM |  | 0
Painting and decorating
Knot, prime and stop, prepare and apply one undercoat and three finishing coats first grade external quality gloss oil paint on wood work surfaces as described:
M | Surfaces over 200 mm but not exceeding 300mm girth | 22 | LM |  | 0
| TOTAL CARRIED TO SUMMARY | 1/4/1 |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NO. 5
DOORS
Supply and fix the following to UNION catalogue or other equal and approved To softwood, hardwood or the like fixing with screw, 100mm heavy duty steel butt hinges ,100mm Long aluminium barrel bolts
Approved quality Flush doors
A | Single leaf solid semi solid core flush door overall size, 900 x 2100mm high, complete with sawn cypress 25mm quadrant beading, 40 x 12mm architrave, 150 x 50 mm frame with two labours and 150m x 50mm transome, with glass fanlight 900 x 300mm high. | 4 | NO |  | 0
The following from 'Union' or other equal and approved manufacturer(s) as per latest East Africa catalogue including all necessary matching fixing screws.
B | 100mm long, 10mm diametre mild steel pad-lock bolts with accesories | 4 | NO |  | 0
C | 100mm x50mm sawn cypress timber rebated door frame | 26 | LM |  | 0
D | Supply and fix 100mm pressed butt hinges | 6 | PRS |  | 0
E | supply and fix 150mm tower bolt internally | 4 | NO. |  | 0
F | Supply and fix 250mm tower bolt externally | 4 | NO. |  | 0
Touch up primer, prepare and apply one undercoat and three finishing coats internal quality gross oil paint on metal work as described on:
G | General surfaces | 18 | SM |  | 0
| TOTAL CARRIED TO SUMMARY | 1/5/1 |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NO.6: WINDOWS
Steel casement windows: purpose made metal casement sections: integral burglar proofing square bars 16mm thick to all panels at 200 mm centres vertically and 200 mm wide horizontally: Zed and tee sections to project manager's detail and approval: including permanent ventilators comprising 'T' bar, gauze and metal hood: openable casements: coupling mullions: approved brass ironmongery:
A | Window size 600X600mm high overall | 5 | NO |  | 0
4 mm Thick obscured sheet glass and glazing to steel casement windows with and including linseed putty: in panes
B | Panes: not exceeding 0.50 sm | 2 | SM |  | 0
C | 150 x 25 mm Thick precast concrete window cill; once weathered and throated | 3 | LM |  | 0
Painting
Prepare surfaces: and apply undercoat and two finishing coats first grade gloss paint as "Crown Paints" or other equal approved: on metal surfaces: to
F | General metal surfaces (both sides) | 4 | SM |  | 0
G | Surfaces not exceeding 75mm: | 3 | LM |  | 0
| TOTAL FOR WINDOWS CARRIED TO SUMMARY | 1/6/1 |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NO. 7
FINISHES
FLOOR
A | 32mm thick cement sand( 1;3) screed with coloured nil finish | 22 | SM |  | 0
A | Form channel overall size 100 x 75mm deep in concrete and apply 1:3 c/s mortor backing finished smooth in cement nil to smooth gradient | 3 | Lm |  | 0
B | 100 x 10 mm Thick skirtings | 42 | LM |  | 0
WALL
Cement and sand (1:4) as ddescribed
C | Horizontal raking externally and flush keying to joints | 48 | SM |  | 0
Cement, lime and sand (1:1:6) as described
D | 12 mm Thick cement and sand (1:4) plaster in two coats to wall surfaces internally | 90 | SM |  | 0
E | Ditto sides surfaces of beam and gable end | 10 | SM |  | 0
Painting and Decorating
Prepare and apply one undercoat and three finishing coats first quality plastic emulsion paint as before described on:
F | Plastered wall or concrete surfaces | 86 | SM |  | 0
| TOTAL CARRIED TO SUMMARY | 1/7/1 |  |  | 0
| DESCRIPTION | PAGE NO |  |  | AMOUNT
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NO. 8
ELECTRICAL INSTALLATIONS
SUPPLY, DELIVER , INSTALL ,SET TO WORK AND COMMISSION THE FOLLOWING:-
SWITCHES
| 10A two gang two way switch as powermax | 2 | No |  | 0
| 10A three gang two way switch as powermax | 1 | No |  | 0
LIGHTING FITTINGS
| a)12W recessed downlighter light fitting as to approved as Type B | 5 | NO |  | 0
| b)Security light fitting as to approved as flood light 100w | 3 | NO |  | 0
| c) Flourescent 4ft LED complete | 2 | NO |  | 0
POWER SUBMAINS
| a) 4-WAY consumer unit as SPS or as to approved | 1 | NO |  | 0
b) MCCB'S for item 1.04 above
| i)10 A SP MCB as powermax | 4 | NO |  | 0
| c) 3x6.0mm copper cables drawn in 20mm diameter heavy gauge PVC conduits to the consumer unit from the nearest power supply board | 90 | LM |  | 0
| Total Carried to Bill Summary:Kshs |  |  |  | 0
ELEMENT NO. 9
MECHANICAL INSTALLATIONS
SANITARYWARE AND FITTINGS
| Water closet pan, floor mounted, back to wall with seat & cover | 4 | NO |  | 0
| Wash hand basin, countertop, push/metering tap & accessories | 4 | NO |  | 0
| Urinal bowl, bracket, accessories, 3/4'' push flush valve | 3 | NO |  | 0
| Urinal divider | 2 | NO |  | 0
| Soap dispenser | 4 | NO |  | 0
| Toilet roll holder | 4 | NO |  | 0
| Mirror 1800 x 900mm | 2 | NO |  | 0
| Angle valve & flexible connector | 4 | NO |  | 0
| Total Carried to Bill Summary:Kshs |  |  |  | 0
| Total Brought Forward :Kshs |  |  |  | 0
COLD WATER PIPING
PPR PN 20 Pipes
| 25mm diameter | 18 | LM |  | 0
| 32mm diameter | 20 | LM |  | 0
| 40mm diameter | 20 | LM |  | 0
Elbow
| 25mm diameter | 14 | NO |  | 0
| 32mm diameter | 8 | NO |  | 0
0
| 40mm diameter | 12 | NO |  | 0
Socket
| 25mm diameter | 14 | NO |  | 0
| 32mm diameter | 22 | NO |  | 0
| 40mm diameter | 24 | NO |  | 0
Tee
| 25mm diameter | 6 | NO |  | 0
| 32mm diameter | 4 | NO |  | 0
| 40mm diameter | 12 | NO |  | 0
Adapter
| 25 x 20mm diameter | 6 | NO |  | 0
| 32 x 25mm diameter | 4 | NO |  | 0
| 40 x 32mm diameter | 16 | NO |  | 0
Gate valve ' Peglar'
| 20mm | 2 | NO |  | 0
| 25mm | 2 | NO |  | 0
| 32mm | 1 | NO |  | 0
| 40mm | 3 | NO |  | 0
| Connection to the existing water Biodigester system | 1 | ITEM |  | 0
| Connection to the existing water supply system | 1 | ITEM |  | 0
| Total Mechanical Carried to Bill Summary:Kshs |  |  |  | 0
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
ELEMENT NO. 10
CEILING, WALL AND FLOOR FINISHES
Plain Sheet Finishings
12mm chipboard ceiling fixed to and including 50 x 50mm sawn cypress brandering at 600mm centres both directions fixed with clout headed nails and set out on symmetrical panels with "V" joints
| Horizontal suspended ceilings | 40 | SM |  | 0
| 100 x 25mm wrot cypress cornice with two labors | 85 | LM |  | 0
Painting and Decorating
Prepare and apply one primer coat and two finishing costs Kansai plascon or other equal and approved equivalent top quality paint
| Chipboard surfaces | 40 | SM |  | 0
| Surfaces: Girth not exceeding 100mm | 85 | LM |  | 0
FLOOR AND WALL TILE FINISHES
Beds or Backing
Tiles; Slab or Block Finishes
Supply and fix approved ceramic floor tiles;to regular pattern;bedding and jointing in cement mortar (1:4) grouting joints with proprietory grouting laid on cement sand bed (m.s),3mm silicon joints at 3600mm through depth of tile,aluminium edge trim as per "Genesis" incorporating all spacers and expansion joints:all in accordance with Architect's detail drawings and approval
| 300 x 300mm Ceramic floor tiles | 30 | SM |  | 0
Supply and fix wall tiles as "Levante white" fixed with approved quality tile adhesive in accordance with manufacturers instructions :bedded on screeds ;jointed,pointed and grouted in matching color cement mortar including all spacers and expansion joints;all in accordance with Architect's detail drawings and approval
| 300 x 600mm glazed ceramic wall tiles | 97 | SM |  | 0
FIRE FIGHTING EQUIPMENT
Supply, deliver and install the following fire fighting equipment in the positions directed by the project manager
| 5kgs carbon dioxide fire extinguisher complete with re-fill discharge horn and fitting to wall brackets, as manufactured by Angus or equal and approved | 4 | NO |  | 0
| 6kg dry powder multi-purpose fire Class A,B and C as manufactured by Angus Fire Armour ABC multipurpose model AP9K or equal and approved | 4 | NO |  | 0
| Fire Blanket 1.8m x 1.8m made from K40 weaved twill cloth is contained in a wipeable rigid PVC outer cover which has wall mounting capabilities and fast release pull straps. | 2 | NO |  | 0
| Total Carried to Bill Summary:Kshs |  |  |  | 0
4-DOOR MODERN CLOSE COUPLE TOILET AND URINAL
A | ELEMENT NO.1: SUBSTRUCTURE | FROM PAGE 1/1/2 |  |  | 0
B | ELEMENT NO.2: SUPERSTRUCTURE | FROM PAGE 1/2/1 |  |  | 0
C | ELEMENT NO.3: WALLING | FROM PAGE 1/3/1 |  |  | 0
D | ELEMENT NO.4: ROOFING AND RAINWATER DISPOSAL | FROM PAGE 1/4/1 |  |  | 0
E | ELEMENT NO.5: DOORS | FROM PAGE 1/5/1 |  |  | 0
E | ELEMENT NO.6: WINDOWS | FROM PAGE 1/6/1 |  |  | 0
F | ELEMENT NO.7:FINISHES | FROM PAGE 1/7/1 |  |  | 0
G | ELEMENT NO.8 ELECTRICAL INSTALLATION |  |  |  | 0
H | ELEMENT NO. 9 MECHANICAL INSTALLATION |  |  |  | 0
I | ELEMENT NO. 10 CEILING, FLOOR AND WALL TILES |  |  |  | 0
K
| TOTAL ESTIMATED COST CARRIED TO FORM OF TENDER (VAT INCLUSIVE) | 1/S/1
ITEM | DESCRIPTION | QTY | UNIT | RATE | AMOUNT
PRIME COST AND PROVISIONAL COST SUMS
The following Provisional Sums are to be measured on completion and priced in accordance with the rates contained in these bills of Quantities or pro-rata thereto or deducted in the whole not required
A | Allow a provisional sum of Kenya Shillings Fifty Thousand (KSh50,000) for Project Supervision by Public Works Staff. |  | SUM
B | Allow a provisional sum of Kenya Shillings Fifty Thousand (50,000/-) for Department Project Co-ordination that includes costs for Liason,Documentation,Verification of land ownership status, Mobilisation for project sensitization and Project Management Commitee(PMC) |  | SUM
C | Provide all the materials, fabricate and erect project name board in 75mm diameter 3mm thick steel pipes in 150mm wide and 600mm deep holes and supported in mass concrete class 15/20 pedestrial. The face of the board to be 1000mmx900mm written both sides as instructed. | 1 | NO
D | Allow a provisional sum of Kenya Shillings Two hundred and Fifty Thousand (250,000/-) for connection of waste to Bio digester and treatment of Biodigester. | 1 | ITEM
E | Allow a provisional sum of Kenya Shillings Two hundred and Forty Thousand (240,000/-) for configuration of the intruder alarm system testing ,training and commissioning | 1 | ITEM
| TOTAL FOR PC CARRIED TO BILL SUMMARY | PC-S |  |  | 0
ITEM | DESCRIPTION | PAGE NO. |  |  | AMOUNT
GRAND SUMMARY
PROPOSED CONSTRUCTION OF TOILET 4 DOOR TOILET AND URINAL
A | TOTAL FOR BUILDER'S WORK | 1/S/1 |  |  | 0
B | TOTAL FOR PRIME COST AND PROVISIONAL COST SUMS | PC-S |  |  | 0
| SUB- TOTAL FOR 1NO. 4 DOOR TOILET & URINAL |  |  |  | 0
GS